## Standart
Изчисляване на неопределеността при приготвяне на стандарт
u_C_stock
|  |  | a= | 2 | 1.1547
|  |  |  | Value | Std-unc | RSU | C_stoc | V_1 | V_1000 |  |  | RSD% | RSD | SquerRSD | Sum | SqRoot | uc
Б | Изходен | mg/L | C_stock | 999 | 1.15 | 0.1151% | 1000.15 | 999 | 999 |  | Ruc = | 0.1151% | 1.1512e-05 | 1.3251e-10 | 3.4044e-09 | 5.8347e-05 | 5.8289e-05
Б | Пипета | ml | V_1 | 1 | 0.0056979 | 0.5698% | 1 | 1.0057 | 1 |  |  | 0.5698% | 5.6979e-05 | 3.2466e-09
Б | Колба | ml | V_1000 | 1000 | 0.50319 | 0.05032% | 1000 | 1000 | 1000.5032 |  |  | 0.05032% | 5.0319e-06 | 2.532e-11
Uc
| ug/ml | mg/ml | C_work_sol | 0.999 | 0.0058289 | 0.5835% | 1.0001 | 1.0047 | 0.9985
[6 empty] | diff | -0.00115 | -0.0056922 | 0.00050243
[6 empty] | diff^2 | 1.3225e-06 | 3.2401e-05 | 2.5244e-07 | 3.3976e-05
sum
[7 empty] | C_stoc | V_1 | V_1000
[6 empty] | Index % | 3.892% | 95.36% | 0.743%

## Temp;effect
Изчисляване на неопределеността при отчитане на обем
[5 empty] | deltaT= | 3
[5 empty] | Beta= | 0.00021
|  | Value | a_Cal | u_Cal | s_rep | a_temp eff | u_temp'eff | std-unc | u_vol
| V_50 | 50 | 0.1 | 0.057735 | 0.03 | 0.0315 | 0.018187 | 0.067558 | 0.067558
| V_1000 | 1000 | 0.6 | 0.34641 | 0.03 | 0.63 | 0.36373 | 0.50319 | 0.50319
| V_1 | 1 | 0.007 | 0.0040415 | 0.004 | 0.00063 | 0.00036373 | 0.0056979 | 0.0056979
| V_2.5 | 2.5 | 0.015 | 0.0086603 | 0.01 | 0.001575 | 0.00090933 | 0.01326 | 0.01326
| V_5 | 5 | 0.04 | 0.023094 | 0.02 | 0.00315 | 0.0018187 | 0.030605 | 0.030605
| V_7.5 | 7.5 | 0.06 | 0.034641 | 0.03 | 0.004725 | 0.002728 | 0.045907 | 0.045907
| V_10 | 10 | 0.075 | 0.043301 | 0.04 | 0.0063 | 0.0036373 | 0.059061 | 0.059061
| Type | (ml) | B |  | B | B |  | ml
distibution

## Ax
Изчисляване на неопределеността при AAS анализ след калибриране по метода на ограничаващите стандарти
| Cx=(C3(A4-Ax)+C4(Ax-A3))/(A4-A3) | [9 empty] | Метод на ограничаващите стандарти
ТИП | def | Val | std_un | REU | A3 | A4 | Ax | C3 | C4
А | A3 | 0.406 | 0.01716 | 4.227% | 0.42316 | 0.406 | 0.406 | 0.406 | 0.406
А | A4 | 0.593 | 0.016216 | 2.735% | 0.593 | 0.60922 | 0.593 | 0.593 | 0.593
А | Ax | 0.468 | 0.02824 | 6.034% | 0.468 | 0.468 | 0.49624 | 0.468 | 0.468
В | C3 | 1 | 0.0058 | 0.58% | 1 | 1 | 1 | 1.0058 | 1 |  | C3 | Cx | C4
В | C4 | 1.5 | 0.0083 | 0.5533% | 1.5 | 1.5 | 1.5 | 1.5 | 1.5083 |  | A3 | Ax | A4
|  |  | Ucomb | Rucomb
| Cx= | 1.1658 | 0.083901 | 7.197% | 1.132 | 1.1525 | 1.2413 | 1.1697 | 1.1685
| Uy+- | 0.1678 |  | diff | 0.033769 | 0.013228 | -0.075508 | -0.003877 | -0.0027519
| k=2 | 1.1658 |  | diff^2 | 0.0011403 | 0.00017499 | 0.0057015 | 1.5031e-05 | 7.5728e-06 | 0.0070394
[5 empty] | A3 | A4 | Ax | C3 | C4 | sum
|  |  |  | Index | 16.2% | 2.486% | 80.99% | 0.2135% | 0.1076% |  | 0 | 0
[11 empty] | 1 | 0.406
[11 empty] | 1.5 | 0.593
Note on D6: Kurs: Razdelihme go na 2 zashtoto povishihme N=4
Note on M2: Veselin Kmetov: II-I/II-I=III-I/III-I
AX
C3
C4
CX
A4
A3

## SD
Изчисляване на стандартно отклонение
1 | 97.76
2 | 97.9
3 | 98.2
4 | 97.98
5 | 98.4
6 | 98
7 | 97.5
8 | 98.3
9 | 98.1
10 | 98.5
11 | 98
S= | 0.28823
Средно | 98.0582
RSD | 0.29394

## Agria
| Стойност | S | RSD% | [8 empty] | RSD% | RSD | SquerRSD | Sum | SqRoot | uc
R_пр | 1.1 | 0.00044 | 0.04 | 1.1004 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 |  | Ruc = | 0.04 | 0.0004 | 1.6e-07 | 6.0125e-06 | 0.002452 | 0.00099749
M_ст | 0.065 | 1.95e-05 | 0.03 | 0.065 | 0.06502 | 0.065 | 0.065 | 0.065 | 0.065 |  |  | 0.03 | 0.0003 | 9e-08
K | 99 | 0.12375 | 0.125 | 99 | 99 | 99.1238 | 99 | 99 | 99 |  |  | 0.125 | 0.00125 | 1.5625e-06
R_ст | 1 | 0.0004 | 0.04 | 1 | 1 | 1 | 1.0004 | 1 | 1 |  |  | 0.04 | 0.0004 | 1.6e-07
M_пр | 0.07 | 1.4e-05 | 0.02 | 0.07 | 0.07 | 0.07 | 0.07 | 0.070014 | 0.07 |  |  | 0.02 | 0.0002 | 4e-08
Число | 0.821 | 0.001642 | 0.2 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.82264 |  |  | 0.2 | 0.002 | 4e-06
|  | u_c` |  | R_пр | M_ст | K | R_ст | M_пр | Число
X2= | 0.4068 | 0.00099748 |  | 0.40696 | 0.40692 | 0.40731 | 0.40664 | 0.40688 | 0.40761
U_y |  | 0.001995 | Разлики | -0.00016272 | -0.00012204 | -0.0005085 | 0.00016266 | -8.136e-05 | -0.0008136 | Сума
K=2 |  |  | Квадрати | 2.6478e-08 | 1.4894e-08 | 2.5857e-07 | 2.6457e-08 | 6.6195e-09 | 6.6195e-07 | 9.9497e-07
|  |  |  | R_пр | M_ст | K | R_ст | M_пр | Число
|  |  | Приноси | 2.6612 | 1.4969 | 25.9881 | 2.6591 | 0.66529 | 66.5295 | 100

## Distr+Uc
РАЗПРЕДЕЛЕНИЯ
а= полуинтервал
Правоъгълно | [5 empty] | Триъгълно
| a => | u |  |  |  |  | a => | u
| 0.002263 | 0.0013065 |  |  |  |  | 0.005 | 0.0020412
Характеристики на обем на колба
ЗАКОН ЗА РАЗПРОСТРАНЕНИЕ НА НЕОПРЕДЕЛЕНОСТТА | [5 empty] | Изчисляване на стандартно отклонение
[6 empty] | 1 | 97.76
[6 empty] | 2 | 97.9
[6 empty] | 3 | 98.2
|  | u | u squr | SUM | Uc | 4 | 97.98
| u1= | 0.01 | 0.0001 | 0.00011613 | 0.010776 | 5 | 98.4
| u2= | 0.004 | 1.6e-05 |  |  | 6 | 98
| u3= | 0.00036373 | 1.323e-07 |  |  | 7 | 97.5
| u4= |  | 0 |  |  | 8 | 98.3
| u5= |  | 0 |  |  | 9 | 98.1
| u6= |  | 0 |  |  | 10 | 98.5
| u7= |  | 0 |  |  | 11 | 98
| u8= |  | 0 |  |  | S= | 0.28823
| u9= |  | 0 |  |  | Средно | 98.0582
| u10= |  | 0 |  |  | RSD | 0.29394

## Titration
ПРИМЕР ЗА СТАНДАРТИЗИРАНЕ НА РАЗТВОР НА NaOH чрез калиев-хидрогенфталат
| Величина | Rep | m(KHP) | P(KHP) | M(KHP) | V(T)
| Стойност | 1 | 0.3888 | 1 | 204.2212 | 18.64
| Неопределеност | 0.0005 | 0.00013 | 0.00029 | 0.0038 | 0.013
| X | U | RU | Rep | m(KHP) | P(KHP) | M(KHP) | V(T) |  |  | RSD% | RSD | SquerRSD | Sum | SqRoot | uc
Rep | 1 | 0.0005 | 0.05% | 1.0005 | 1 | 1 | 1 | 1 |  | Ruc = | 0.05% | 5e-06 | 2.5e-11 | 9.3265e-11 | 9.6574e-06 | 9.8637e-07
m(KHP) | 0.3888 | 0.00013 | 0.03344% | 0.3888 | 0.38893 | 0.3888 | 0.3888 | 0.3888 |  |  | 0.03344% | 3.3436e-06 | 1.118e-11
P(KHP) | 1 | 0.00029 | 0.029% | 1 | 1 | 1.0003 | 1 | 1 |  |  | 0.029% | 2.9e-06 | 8.41e-12
M(KHP) | 204.2212 | 0.0038 | 0.001861% | 204.2212 | 204.2212 | 204.2212 | 204.225 | 204.2212 |  |  | 0.001861% | 1.8607e-07 | 3.4623e-14
V(T) | 18.64 | 0.013 | 0.06974% | 18.64 | 18.64 | 18.64 | 18.64 | 18.653 |  |  | 0.06974% | 6.9742e-06 | 4.864e-11
C(NaOH)= | 0.10214 | 9.8601e-05 |  | 0.10219 | 0.10217 | 0.10217 | 0.10213 | 0.10206
|  |  | diff= | -5.1068e-05 | -3.415e-05 | -2.9619e-05 | 1.9004e-06 | 7.1183e-05 | SUM
|  |  | SQR | 2.6079e-09 | 1.1663e-09 | 8.7731e-10 | 3.6117e-12 | 5.067e-09 | 9.7221e-09
|  |  | Index | 26.82% | 12% | 9.024% | 0.03715% | 52.12% | 100%
|  |  | C(NaOH)= | Rep | m(KHP) | P(KHP) | M(KHP) | V(T)
|  |  | 9.8601e-05 | 5.1068e-05 | 3.415e-05 | 2.9619e-05 | 1.9004e-06 | 7.1183e-05

## Recovery
Recovery
| Value | unit | Components of uncertainty |  |  |  | Su
Matrix CRM BCR 484
U(k = 2)
CCRM | 47.9 | mg/g | 2.6 |  |  |  | 1.3
Results of Analysis of the Matrix CRM
Replicate analysis results: |  | 46.2 | 45.2 | 47.4 | 47.7 | 44.2
Mean: |  | 46.14
Std deviation: |  | 1.4724
std dev
Cfound | 46.14 | mg/g | 1.4724 |  |  |  | 1.4724
Recovery
|  |  | urel(CCRM) | urel(Cfound)
R | 0.96326 |  | 0.02714 | 0.031912 |  |  | 0.040353

## accuracy
Accuracy test
Using CRM different from recovery study
CRM | measurand | unit | value | uncertainty |  | Rsu
hypothetical | Pb content | mg/g | 37 | 0.82 | (k=1) | 2.216%
experimental determination of Pb in CRM
| value | uncertainty | Rsu
wPb | 35.78 | 0.88 | 2.459%
result corrected for recovery
|  | u | Rsu
R | 0.96004 | 0.025389 | 2.645%
wPb,corr | 37.2694 | 1.346 | 3.611%
En score
En= | 0.17096
accuracy confirmed