{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Пречене ","Horwitz","Uf_target"],"not_rendered":{"charts":5,"images":24,"macros":0,"external_links":5,"defined_names":42,"comments":3,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Пречене ","index":0,"n_rows":679,"n_cols":32,"rows_kept":679,"cut":false,"hidden":false,"merged":[[0,2,0,9],[1,2,1,3],[1,7,1,8],[1,9,1,10],[2,7,2,8],[2,9,2,10],[5,2,5,3],[10,10,10,11],[11,10,11,11],[25,1,25,5],[26,1,26,5]]}
[null,null,"АДИТИВНО И МУЛТИПЛИКАТИВНО ПРЕЧЕНЕ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Y St A.s","X ug /L","Y matrix"]
[null,null,"Multiplicative",null,null,null,null,"МУЛТИПЛИКАТИВНО",null,{"$f":"IF(M11<O11,\"Calibration is OK\",\"INTERFERENCE\")","v":"Calibration is OK"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,{"$f":"AD2*0.1*$D$3+0.01*$D$7","v":0}]
[null,null,"b1 (10)",{"$f":"C4*0.2","v":10},null,null,null,"АДИТИВНО",null,{"$f":"IF(M12<O12,\"Calibration is OK\",\"INTERFERENCE\")","v":"Calibration is OK"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.1000000000000003E-2,20,8.1000000000000016E-2]
[null,null,50,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"SLOPE(AF1:AF7,AE1:AE7)","v":4.2892307692307691E-3},null,null,0.23,50,0.23000000000000004]
[null,null,null,null,null,null,null,"∆ (Cst-Cmx) =",{"$f":"I9-I8","v":0},"ppb",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"INTERCEPT(AF3:AF7,AE3:AE7)","v":7.426829268292634E-3},null,null,0.40550000000000003,100,0.40550000000000003]
[null,null,"Additive",null,null,null,null," относителна ∆ %=",{"$f":"(I9-I8)/I9","v":0},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.72,150,0.72]
[null,null,"b0 (0) ",0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.01,null,null,null,null,null,0.82,200,0.82000000000000006]
[null,null,null,null,null,null,null,"C_st=",{"$f":"AC15","v":103.69540848847177},"ppb",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"SLOPE(AD3:AD7,AE3:AE7)","v":4.2680112570356466E-3},"b1 и b1m",{"$f":"SLOPE(AF3:AF7,AE3:AE7)","v":4.2680112570356475E-3}]
[null,null,null,null,null,null,null,"C_mx=",{"$f":"AC18","v":103.69540848847177},"ppb",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"INTERCEPT(AD3:AD7,AE3:AE7)","v":7.426829268292745E-3},"b0 и b0m",{"$f":"INTERCEPT(AF3:AF7,AE3:AE7)","v":7.426829268292634E-3}]
[]
[null,null,null,null,null,null,null,null,null,null,"difference | b1-b1' |=",null,{"$f":"ABS(K20-K14)","v":1.7347234759768071E-18}," Δb1u_d=",{"$f":"SQRT(K15^2+K21^2)","v":3.6317488259900762E-4}]
[null,null,null,null,null,null,null,null,null,null,"difference | b0-b0' |=",null,{"$f":"ABS(L20-L14)","v":1.6653345369377348E-16}," Δb0u_d=",{"$f":"SQRT(L15^2+L21^2)","v":4.0712320103891857E-2},null,null,null,null,null,null,null,null,null,null,null,null,150]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Y samp","X","Y1","X","Y2"]
[null,null,null,null,null,null,null,null,null,null,{"$f":"LINEST(AF2:AF7,AE2:AE7,1,1)","v":4.28923076923077E-3},4.3499999999999095E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"X7*0.3*AB12","v":0.45},0.01,{"$f":"AB14","v":0.45},{"$f":"AC15","v":103.69540848847177},0]
[null,null,null,null,null,null,null,null,null,null,2.5680342224238646E-4,2.8787957623299328E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"(AB14-AF9)/AF8","v":103.69540848847177},{"$f":"AB14","v":0.45},{"$f":"AC15","v":103.69540848847177},{"$f":"AB14","v":0.45}]
[null,null,null,null,null,null,null,null,null,null,0.98586421655753109,4.4726084069073642E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Y samp","X","Y1","X","Y2"]
[null,null,null,null,null,null,null,null,null,null,278.9698131893129,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"AB14","v":0.45},0.01,{"$f":"AB17","v":0.45},{"$f":"AC18","v":103.69540848847177},0]
[null,null,null,null,null,null,null,null,null,null,0.55805751794871794,8.0016903846153731E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"(AB17-AD9)/AD8","v":103.69540848847177},{"$f":"AB17","v":0.45},{"$f":"AC18","v":103.69540848847177},{"$f":"AB17","v":0.45}]
[null,null,null,null,null,null,null,null,null,null,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,null,null,null,null,null,{"$f":"LINEST(AD2:AD7,AE2:AE7,1,1)","v":4.2892307692307683E-3},4.350000000000076E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"CORREL(AD2:AD7,AE2:AE7)","v":0.99290695261818518}]
[null,null,null,null,null,null,null,null,null,null,2.5680342224238667E-4,2.8787957623299353E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"AF20*AF20","v":0.98586421655753098}]
[null,null,null,null,null,null,null,null,null,null,0.98586421655753109,4.4726084069073677E-2]
[null,null,null,null,null,null,null,null,null,null,278.96981318931239,4]
[null,null,null,null,null,null,null,null,null,null,0.55805751794871783,8.0016903846153852E-3]
[null,null,null,null,null,null,null,null,null,null,{"$error":"#N/A"},{"$error":"#N/A"}]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Разработка за учебни цели ВК"]

{"sheet":"Horwitz","index":1,"n_rows":681,"n_cols":31,"rows_kept":681,"cut":false,"hidden":false,"merged":[[0,0,0,9],[21,5,21,8],[24,5,24,6],[25,0,25,7]]}
["Хорвиц - тромпет и променено уравнение на Хорвиц"]
[null,null,null,null,null,null,"Horwitz - 1982"]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"C m/m"," +RSD"," -RDS","SD"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,{"$f":"2^(1-(0.5*LOG(Y8)))","v":2},{"$f":"-Z8","v":-2},{"$f":"0.02*(Y8^0.8495)","v":0.02},{"$f":"AB8/Y8","v":0.02}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.1,{"$f":"2^(1-(0.5*LOG(Y9)))","v":2.8284271247461898},{"$f":"-Z9","v":-2.8284271247461898},{"$f":"0.02*(Y9^0.8495)","v":2.8283294501403079E-3},2.8283294501403079E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1E-3,5.6568542494923806,-5.6568542494923806,5.6562682220949456E-5,5.6562682220949456E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1E-4,8,-8,7.9988949952219518E-6,7.9988949952219515E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.0000000000000001E-5,11.313708498984759,-11.313708498984759,1.1311755141783076E-6,0.11311755141783075]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.9999999999999995E-7,16,-16,1.5996685100140555E-7,0.15996685100140556]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.9999999999999995E-8,{"$f":"2^(1-(0.5*LOG(Y14)))","v":22.627416997969519},-22.627416997969519,2.2621947786674089E-8,0.2262194778667409]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1E-8,{"$f":"2^(1-(0.5*LOG(Y15)))","v":32},-32,3.1991160572293327E-9,0.31991160572293326]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.0000000000000001E-9,45.254833995939045,-45.254833995939045,4.5240770795392406E-10,0.45240770795392404]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1E-10,64,-64,6.3977902193827933E-11,0.63977902193827929]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.9999999999999998E-13,{"$f":"2^(1-(0.5*LOG(Y18)))","v":128},{"$f":"-Z18","v":-128},1.2794696709652945E-12,{"$f":"AB18/Y18","v":1.2794696709652946}]
[]
[null,null,null,null,null,null,1.8]
[null,null,null,null,null,null,1.0000000000000001E-9]
[null,null,{"$f":"C23","v":1.0000000000000002E-2},null,null,"Задай концентрация като отношение",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"C (μg/kg) ","α"]
[1,"C(m/M)=",{"$f":"0.1*A23*POWER(10,-D23)","v":1.0000000000000002E-2},1,null,"C(m/M)=",{"$f":"G21","v":1.0000000000000001E-9},"стандартен ХОРВИЦ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"≤ 50 ","0,2"]
[null,"(+-RSD)=",{"$f":"IF(C23<10^-7,0.22*C23,IF(C23>0.138,0.01*(C23^0.5),0.02*(C23^0.8495)))/C23*100","v":3.9997237392654879},null,null,"(+-RSD)=",{"$f":"IF(G23<10^-7,0.22*G23,IF(G23>0.138,0.01*(G23^0.5),0.02*(G23^0.8495)))/G23*100","v":22},{"$f":"2^(1-(0.5*LOG(G23)))","v":45.254833995939045},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"51—500","0,18"]
[null,null,{"$f":"-C24","v":-3.9997237392654879},null,null,"променен Хорвиц",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"501—1 000 ","0,15"]
["\"=IF(C23<10^-7,0.22*C23,IF(C23>0.138,0.01*(C23^0.5),0.02*(C23^0.8495)))/C23*100\""]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"X1=",{"$f":"#REF!","v":{"$error":"#REF!"}},null,"Y1=",0]
[null,"X2=",{"$f":"#REF!","v":{"$error":"#REF!"}},null,"Y2=",{"$f":"#REF!","v":{"$error":"#REF!"}}]
[]
[null,"X1=",0,null,"Y1=",{"$f":"#REF!","v":{"$error":"#REF!"}}]
[null,"X2=",{"$f":"#REF!","v":{"$error":"#REF!"}},null,"Y2=",{"$f":"#REF!","v":{"$error":"#REF!"}}]
[]
[]
[]
[]
[]
[null,null,"RSD%"," -RSD%","S"]
[null,1,{"$f":"(E64/B64)*100","v":1},{"$f":"-C64","v":-1},{"$f":"IF(B64<10^-7,0.22*B64,IF(B64>0.138,0.01*(B64^0.5),0.02*(B64^0.8495)))","v":0.01}]
[null,0.8,1.1180339887498949,-1.1180339887498949,8.9442719099991595E-3]
[null,0.6,1.2909944487358058,-1.2909944487358058,7.7459666924148346E-3]
[null,0.5,1.4142135623730951,-1.4142135623730951,7.0710678118654762E-3,{"$f":"0.01*B67^0.5","v":7.0710678118654762E-3}]
[null,0.4,1.5811388300841895,-1.5811388300841895,6.3245553203367588E-3,{"$f":"0.01*B68^0.5","v":6.3245553203367588E-3}]
[null,0.2,2.2360679774997898,-2.2360679774997898,4.4721359549995798E-3]
[null,0.18,2.3570226039551585,-2.3570226039551585,4.2426406871192849E-3]
[null,0.16,2.5,-2.5,4.0000000000000001E-3]
[null,0.15,2.5819888974716116,-2.5819888974716116,3.8729833462074173E-3]
[null,0.14000000000000001,2.6726124191242437,-2.6726124191242437,3.7416573867739417E-3]
[null,0.13,2.7188266681952156,-2.7188266681952156,3.5344746686537805E-3]
[null,0.01,3.9997237392654887,-3.9997237392654887,3.9997237392654886E-4]
[null,1E-3,5.6562682220949458,-5.6562682220949458,5.6562682220949456E-5]
[null,1E-4,7.9988949952219519,-7.9988949952219519,7.9988949952219518E-6]
[null,1.0000000000000001E-5,11.311755141783076,-11.311755141783076,1.1311755141783076E-6]
[null,9.9999999999999995E-7,15.996685100140557,-15.996685100140557,1.5996685100140555E-7]
[null,9.9999999999999995E-8,22.621947786674092,-22.621947786674092,2.2621947786674089E-8]
[null,1E-8,22.000000000000004,-22.000000000000004,2.2000000000000003E-9]
[null,1.0000000000000001E-9,22,-22,2.2000000000000002E-10]
[null,1E-10,22,-22,2.2000000000000002E-11]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Разработка за учебни цели ВК"]

{"sheet":"Uf_target","index":2,"n_rows":658,"n_cols":32,"rows_kept":658,"cut":false,"hidden":false,"merged":[[0,0,0,5],[3,4,3,9],[11,9,11,12],[12,9,12,12]]}
["Максимална стандартна неопределеност"]
[]
[]
[null,null,null,null,"Michael Thompson and Roger Wood - Using uncertainty to predict and specify the performance of analytical method "]
[null,null,null,null,"LOD","RSD%","C",null,"Horwiz RSD%","Max u_",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1E-8,{"$f":"IF(AD5<10^-7,0.22*AD5,IF(AD5>0.138,0.01*(AD5^0.5),0.02*(AD5^0.8495)))","v":2.2000000000000003E-9},{"$f":"AE5/AD5","v":0.22000000000000003}]
[null,null,null,null,{"$f":"E10*H6","v":4.0000000000000001E-8},{"$f":"F10*100","v":18},{"$f":"G10*H6","v":7.3000000000000004E-6},{"$f":"10^-H7","v":9.9999999999999995E-7},{"$f":"IF(G6<10^-7,0.22*G6,IF(G6>0.138,0.01*(G6^0.5),0.02*(G6^0.8495)))/G6*100","v":11.860415540961293},{"$f":"I6*G6/100","v":8.6581033449017441E-7},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.9999999999999999E-7,4.0761952351314772E-8,0.20380976175657387]
[null,null,null,null,null,null,null,6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.9999999999999999E-7,5.7523393885955145E-8,0.19174464628651716]
[null,null,null,null,4,18,73,null,488,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.9999999999999998E-7,8.8777929961830062E-8,0.17755585992366013]
[null,null,null,null,"P","Q","C",null,"RSD",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.9999999999999995E-7,1.5996685100140555E-7,0.15996685100140556]
[null,null,null,null,{"$f":"E8*0.01","v":0.04},{"$f":"F8*0.01","v":0.18},{"$f":"G8*0.1","v":7.3000000000000007},null,{"$f":"I8*0.1","v":48.800000000000004},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.1000000000000001E-6,1.7345749959473722E-7,0.15768863599521565]
[null,null,null,"u",{"$f":"SQRT((E10)+(F10*(G10^2)))","v":3.1035785796399615},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.1999999999999999E-6,1.8676455791872746E-7,0.15563713159893955]
[null,null,null,null,null,"C","u_r","u_fit"," u_r - u_fit","FFP неопределеност ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.9999999999999995E-7,1.5996685100140555E-7,0.15996685100140556]
["u",{"$f":"SQRT((($E$6^2)/4)+($F$10*((D13*$H$6)^2)))","v":2.0445048300260872E-8},null,0.01,null,{"$f":"D13*$H$6","v":1E-8},{"$f":"B13","v":2.0445048300260872E-8},{"$f":"F13*$I$10/100","v":4.8800000000000005E-9},{"$f":"G13-H13","v":1.5565048300260871E-8},"Uf неопределеност на метода",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.0000000000000001E-5,1.1311755141783076E-6,0.11311755141783075]
[null,2.9154759474226501E-8,null,0.05,null,4.9999999999999998E-8,2.9154759474226501E-8,2.44E-8,4.754759474226501E-9,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1E-4,7.9988949952219518E-6,7.9988949952219515E-2]
[null,4.6904157598234292E-8,null,0.1,null,9.9999999999999995E-8,4.6904157598234292E-8,4.88E-8,-1.8958424017657083E-9,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1E-3,5.6562682220949456E-5,5.6562682220949456E-2]
[null,6.4015623093116745E-8,null,0.14333333333333301,null,1.43333333333333E-7,6.4015623093116745E-8,6.9946666666666509E-8,-5.9310435735497643E-9,null,"C (μg/kg) ","α",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.01,3.9997237392654886E-4,3.9997237392654886E-2]
[null,8.2368076340290826E-8,null,0.18833333333333299,null,1.8833333333333299E-7,8.2368076340290826E-8,9.1906666666666516E-8,-9.5385903263756898E-9,null,"≤ 50 ","0,2",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.4999999999999999E-2,5.644422575881669E-4,3.7629483839211129E-2]
[null,1.0099504938362064E-7,null,0.233333333333333,null,2.3333333333333299E-7,1.0099504938362064E-7,1.1386666666666651E-7,-1.2871617283045864E-8,null,"51—500","0,18",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.02,7.2070075492969786E-4,3.6035037746484894E-2]
[null,1.1976852675056147E-7,null,0.27833333333333299,null,2.7833333333333298E-7,1.1976852675056147E-7,1.3582666666666651E-7,-1.6058139916105042E-8,null,"501—1 000 ","0,15",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.5000000000000001E-2,8.7112410841068812E-4,3.4844964336427524E-2]
[null,1.386290012948227E-7,null,0.32333333333333297,null,3.2333333333333297E-7,1.386290012948227E-7,1.5778666666666651E-7,-1.9157665371843805E-8,null,"1 001—10 000 ","0,12",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.03,1.0170551459954549E-3,3.3901838199848496E-2]
[null,1.5754523160032474E-7,null,0.36833333333333301,null,3.6833333333333302E-7,1.5754523160032474E-7,1.7974666666666653E-7,-2.2201435066341782E-8,null,"> 10 000 ","0,1",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5000000000000003E-2,1.1593532914631677E-3,3.3124379756090505E-2]
[null,1.7649929178328148E-7,null,0.413333333333333,null,4.1333333333333296E-7,1.7649929178328148E-7,2.0170666666666649E-7,-2.5207374883385009E-8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.04,1.2986136343797112E-3,3.2465340859492778E-2]
[null,8.1034683932252121E-6,null,19.100000000000001,null,1.91E-5,8.1034683932252121E-6,9.3208000000000006E-6,-1.2173316067747885E-6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.4999999999999998E-2,1.4352713840250369E-3,3.1894919645000824E-2]
[null,8.9095678907565423E-6,null,21,null,2.0999999999999999E-5,8.9095678907565423E-6,1.0247999999999999E-5,-1.3384321092434568E-6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.05,1.5696579151347496E-3,3.1393158302694991E-2]
[null,9.7156677588316069E-6,null,22.9,null,2.2899999999999998E-5,9.7156677588316069E-6,1.1175199999999999E-5,-1.4595322411683924E-6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.5E-2,1.7020334867751403E-3,3.0946063395911643E-2]
[null,1.0521767912285463E-5,null,24.8,null,2.48E-5,1.0521767912285463E-5,1.21024E-5,-1.5806320877145364E-6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.06,1.8326075981904327E-3,3.0543459969840547E-2]
[null,1.1327868290194761E-5,null,26.7,null,2.6699999999999998E-5,1.1327868290194761E-5,1.3029600000000001E-5,-1.7017317098052402E-6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.5000000000000002E-2,1.9615523005003734E-3,3.0177727700005742E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.0000000000000007E-2,2.0890112589155353E-3,2.9843017984507645E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.4999999999999997E-2,2.2151061298610968E-3,2.9534748398147959E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.08,2.3399411751155791E-3,2.9249264688944739E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.5000000000000006E-2,2.4636066803473142E-3,2.8983608004086048E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.09,2.5861815400925526E-3,2.8735350445472808E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.5000000000000001E-2,2.7077352475131317E-3,2.8502476289611913E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.1,2.8283294501403079E-3,2.8283294501403079E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.12,3.3021322611353431E-3,2.7517768842794527E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.13,3.5344746686537805E-3,2.7188266681952157E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.13850000000000001,3.7215588131856792E-3,2.6870460745022952E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.14000000000000001,3.7416573867739417E-3,2.6726124191242439E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.15,3.8729833462074173E-3,2.5819888974716116E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.16,4.0000000000000001E-3,2.5000000000000001E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.17,4.1231056256176611E-3,2.4253562503633298E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.18,4.2426406871192849E-3,2.3570226039551584E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.19,4.3588989435406735E-3,2.2941573387056175E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.2,4.4721359549995798E-3,2.2360679774997897E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.21,4.5825756949558405E-3,2.1821789023599242E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.22,4.6904157598234297E-3,2.1320071635561044E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.23,4.7958315233127199E-3,2.0851441405707476E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.24,4.8989794855663557E-3,2.0412414523193149E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.25,5.0000000000000001E-3,0.02]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.26,5.0990195135927853E-3,1.9611613513818404E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.27,5.1961524227066326E-3,1.9245008972987528E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.28000000000000003,5.2915026221291815E-3,1.8898223650461361E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.28999999999999998,5.3851648071345038E-3,1.8569533817705187E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.3,5.4772255750516604E-3,1.8257418583505537E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.31,5.5677643628300223E-3,1.7960530202677492E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.32,5.6568542494923801E-3,1.7677669529663688E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.33,5.7445626465380288E-3,1.7407765595569783E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.34,5.8309518948453012E-3,1.7149858514250885E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.35,5.9160797830996158E-3,1.6903085094570332E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.36,6.0000000000000001E-3,1.6666666666666666E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.37,6.0827625302982196E-3,1.6439898730535731E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.38,6.1644140029689766E-3,1.6222142113076255E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.38999999999999901,6.2449979983983904E-3,1.6012815380508735E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.39999999999999902,6.324555320336751E-3,1.5811388300841916E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.40999999999999898,6.4031242374328412E-3,1.5617376188860627E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.41999999999999899,6.480740698407852E-3,1.5430334996209209E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.42999999999999899,6.5574385243019929E-3,1.5249857033260485E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.439999999999999,6.6332495807107927E-3,1.50755672288882E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.44999999999999901,{"$f":"IF(AD69<10^-7,0.22*AD69,IF(AD69>0.138,0.01*(AD69^0.5),0.02*(AD69^0.8495)))","v":6.7082039324993618E-3},{"$f":"AE69/AD69","v":1.4907119849998615E-2}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.45999999999999902,6.7823299831252619E-3,1.4744195615489732E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.46999999999999897,6.8556546004010371E-3,1.4586499149789472E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.47999999999999898,6.9282032302755018E-3,1.4433756729740659E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.48999999999999899,6.9999999999999932E-3,1.4285714285714301E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.499999999999999,7.0710678118654684E-3,1.4142135623730965E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.50999999999999901,7.1414284285428436E-3,1.4002800840280112E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.51999999999999902,7.2111025509279713E-3,1.386750490563074E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.52999999999999903,7.280109889280512E-3,1.3736056394868915E-2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Разработка за учебни цели ВК"]